{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["方舱隔离点医院(非医用物资)设施设备采购清单"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"方舱隔离点医院(非医用物资)设施设备采购清单","index":0,"n_rows":25,"n_cols":6,"rows_kept":25,"merged":[[1,0,1,5],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,4,3,4],[4,0,5,0],[6,0,21,0],[23,0,24,0],[25,0,25,5]]}
["附件：1"]
["方舱隔离点医院(非医用物资)设施设备采购清单"]
["设备类型","序号","设备名称","所需","需求及配置参数需求","备注"]
[{"$nulls":3},"数量"]
["信息系统",1,"信息化系统专线",1]
[null,2,"信息化系统软硬件",1,"含计算机、打印机、储存、安全设备等","含计算机、打印机、储存、安全设备等"]
["后勤物资",3,"办公椅",40,"普通标准"]
[null,4,"办公桌",20,"普通标准"]
[null,5,"对讲机",20,"普通标准"]
[null,6,"病床",500,"建议规格：2100×960×500mm（床面高度）±10mm；ABS床头板，碳钢床体"]
[null,7,"高低床",15,"建议规格：2050*900*1800mm±10mm"]
[null,8,"床头柜",500,"建议规格：480*470*750mm±10mm，ABS可采用工程塑料注塑成型"]
[null,9,"储物柜",5,"建议规格：850*390*1800mm±10mm，材料可采用碳钢冷轧板制作"]
[null,10,"床垫",4,"建议采用防水布料，上层用厚高密度的优质海绵，下层用椰棕垫组合"]
[null,11,"被子",600,"普通标准，3斤棉絮或者丝绵"]
[null,12,"褥子",600,"普通标准"]
[null,13,"被套",1250,"普通标准"]
[null,14,"床单",1250,"普通标准，棉质"]
[null,15,"枕套",1250,"普通标准，棉质"]
[null,16,"枕芯",1250,"普通标准，"]
[null,17,"塑料凳",500,"普通标准"]
[null,18,"拖线板",25,"8-10米"]
["其他物资",19,"微型消防站及消防设施一批",1]
["增加物资",20,"平板电脑",16,"屏幕尺寸不低于10英寸，支持WIFI，CPU处理速度不低于2GHZ,运行内存不低于4G，内存容量不低于128G，电池容量不低于8000mAh，可外接无线键盘或配备专用键盘等设备。"]
[null,21,"洗漱用品",500,"普通标准"]