{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["C.3 工程项目投标总价扉页(扉-3)","E.1 建设项目招标控制价投标报价汇总表(表-02)","F.1.1 分部分项工程清单计价表(表-08)【合江县学府家~"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"C.3 工程项目投标总价扉页(扉-3)","index":0,"n_rows":15,"n_cols":3,"rows_kept":15,"merged":[[0,0,0,2],[4,0,5,0],[4,1,5,1],[4,2,5,2],[6,0,6,2],[14,0,14,2]],"flags":["formulas_cached_only"]}
["投 标 总 价","",""]
["\r\n招　　标　　人:"," ",""]
["工  程　名  称:","合江县学府家园项目(给水)",""]
["投标总价(小写):","2359920.34元",""]
["(大写):","贰佰叁拾伍万玖仟玖佰贰拾元叁角肆分",""]
["","",""]
["","",""]
["投　标　人:"," ",""]
["","(单位盖章)",""]
["　　　法定代表人 \r\n或其授权人:"," ",""]
["       ","(签字或盖章)",""]
["编　制　人:"," ",""]
["","(造价人员签字盖专用章)",""]
["  时      间:"," ",""]
["扉-3 ","",""]

{"sheet":"E.1 建设项目招标控制价投标报价汇总表(表-02)","index":1,"n_rows":7,"n_cols":9,"rows_kept":7,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,6],[1,7,1,8],[2,0,3,1],[2,2,3,2],[2,3,2,4],[2,5,3,5],[2,6,2,8],[4,0,4,1],[5,0,5,1],[6,0,6,4]],"flags":["formulas_cached_only"]}
["建设项目招标控制价/投标报价汇总表","","","","","","","",""]
["工程名称：","","合江县学府家园项目(给水)","","","","","",""]
["序号","","单项工程名称 ","工程规模","","金额(元)","其中: (元)","",""]
["","","","数值","计量单位","","暂估价","安全文明施工费","规费"]
["1","","合江县学府家园项目(给水)","248464.30","平方米","2359920.34"," "," "," "]
["2","","  安装工程","248464.30","平方米","2359920.34"," "," "," "]
["合　　计","","","","","2359920.34"," "," "," "]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)【合江县学府家~","index":2,"n_rows":265,"n_cols":12,"rows_kept":265,"merged":[[0,0,0,11],[1,0,1,1],[1,2,1,5],[1,6,1,8],[1,9,1,11],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,6],[2,7,2,11],[3,7,4,7],[3,8,4,8],[3,9,3,11],[5,1,5,2],[5,3,5,4],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[9,3,9,4],[10,1,10,2],[10,3,10,4],[11,1,11,2],[12,1,12,2],[13,1,13,2],[13,3,13,4],[14,1,14,2],[14,3,14,4],[15,1,15,2],[16,1,16,2],[17,1,17,2],[17,3,17,4],[18,1,18,2],[18,3,18,4],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[32,3,32,4],[33,1,33,2],[33,3,33,4],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[55,1,55,2],[56,1,56,2],[57,1,57,2],[58,1,58,2],[59,1,59,2],[60,1,60,2],[61,1,61,2],[62,1,62,2],[63,1,63,2],[64,1,64,2],[65,1,65,2],[66,1,66,2],[67,1,67,2],[68,1,68,2],[69,1,69,2],[70,1,70,2],[71,1,71,2],[72,1,72,2],[73,1,73,2],[74,1,74,2],[75,1,75,2],[76,1,76,2],[77,1,77,2],[78,1,78,2],[79,1,79,2],[80,1,80,2],[81,1,81,2],[82,1,82,2],[83,1,83,2],[84,1,84,2],[85,1,85,2],[86,1,86,2],[87,1,87,2],[88,1,88,2],[89,1,89,2],[90,1,90,2],[91,1,91,2],[92,1,92,2],[93,1,93,2],[94,1,94,2],[95,1,95,2],[96,1,96,2],[97,1,97,2],[98,1,98,2],[99,1,99,2],[100,1,100,2],[101,1,101,2],[102,1,102,2],[103,1,103,2],[104,1,104,2],[105,1,105,2],[106,1,106,2],[107,1,107,2],[108,1,108,2],[109,1,109,2],[110,1,110,2],[111,1,111,2],[112,1,112,2],[113,1,113,2],[114,1,114,2],[115,1,115,2],[116,1,116,2],[117,1,117,2],[118,1,118,2],[119,1,119,2],[120,1,120,2],[121,1,121,2],[122,1,122,2],[123,1,123,2],[124,1,124,2],[125,1,125,2],[126,1,126,2],[127,1,127,2],[128,1,128,2],[129,1,129,2],[130,1,130,2],[131,1,131,2],[132,1,132,2],[133,1,133,2],[134,1,134,2],[135,1,135,2],[136,1,136,2],[137,1,137,2],[138,1,138,2],[139,1,139,2],[140,1,140,2],[141,1,141,2],[142,1,142,2],[143,1,143,2],[144,1,144,2],[145,1,145,2],[146,1,146,2],[147,1,147,2],[148,1,148,2],[149,1,149,2],[150,1,150,2],[151,1,151,2],[152,1,152,2],[153,1,153,2],[154,1,154,2],[155,1,155,2],[156,1,156,2],[157,1,157,2],[158,1,158,2],[159,1,159,2],[160,1,160,2],[161,1,161,2],[162,1,162,2],[163,1,163,2],[164,1,164,2],[165,1,165,2],[166,1,166,2],[167,1,167,2],[168,1,168,2],[169,1,169,2],[170,1,170,2],[171,1,171,2],[172,1,172,2],[173,1,173,2],[174,1,174,2],[175,1,175,2],[176,1,176,2],[177,1,177,2],[178,1,178,2],[179,1,179,2],[180,1,180,2],[181,1,181,2],[182,1,182,2],[183,1,183,2],[184,1,184,2],[185,1,185,2],[186,1,186,2],[187,1,187,2],[188,1,188,2],[189,1,189,2],[190,1,190,2],[191,1,191,2],[192,1,192,2],[193,1,193,2],[194,1,194,2],[195,1,195,2],[196,1,196,2],[197,1,197,2],[198,1,198,2],[199,1,199,2],[200,1,200,2],[201,1,201,2],[202,1,202,2],[203,1,203,2],[204,1,204,2],[205,1,205,2],[206,1,206,2],[207,1,207,2],[208,1,208,2],[209,1,209,2],[210,1,210,2],[211,1,211,2],[212,1,212,2],[213,1,213,2],[214,1,214,2],[215,1,215,2],[216,1,216,2],[217,1,217,2],[218,1,218,2],[219,1,219,2],[220,1,220,2],[221,1,221,2],[222,1,222,2],[223,1,223,2],[224,1,224,2],[225,1,225,2],[226,1,226,2],[227,1,227,2],[228,1,228,2],[229,1,229,2],[230,1,230,2],[231,1,231,2],[232,1,232,2],[233,1,233,2],[234,1,234,2],[235,1,235,2],[236,1,236,2],[237,1,237,2],[238,1,238,2],[239,1,239,2],[240,1,240,2],[241,1,241,2],[242,1,242,2],[243,1,243,2],[243,3,243,4],[244,1,244,2],[244,3,244,4],[245,1,245,2],[246,1,246,2],[247,1,247,2],[248,1,248,2],[249,1,249,2],[250,1,250,2],[251,1,251,2],[252,1,252,2],[253,1,253,2],[254,1,254,2],[255,1,255,2],[256,1,256,2],[257,1,257,2],[257,3,257,4],[258,1,258,2],[258,3,258,4],[259,1,259,2],[260,1,260,2],[261,1,261,2],[262,1,262,2],[263,1,263,2],[263,3,263,4],[264,0,264,7]],"flags":["formulas_cached_only"]}
["分部分项工程清单与计价表","","","","","","","","","","",""]
["工程名称：","","合江县学府家园项目(给水)\\合江县学府家园项目(给水)【安装工程】","","","","标段：","","","","",""]
["序号"," 项目编码 ","","项目名称","项目特征描述","计量\r\n单位","工程量","金额（元）","","","",""]
["","","","","","","","综合单价","合价","其中","",""]
["","","","","","","","","","定额人工费","定额机械费","暂估价"]
[" "," ","","0301 机械设备安装工程 ",""," "," "," "," "," "," "," "]
["1","030109012001","","潜水排污泵 Q=36m3/h h=22m N=5.5KW ","1.名称：潜水排污泵\r\n2.型号：满足设计要求\r\n3.参数：Q=36m3/h h=22m N=5.5KW \r\n4.输送介质：污水\r\n5.其他：包括配套水泵浮球阀、水泵配套电源线等附件安装\r\n7.未尽事宜满足设计及规范要求","台","34","2377.07","80820.38","12366.48","1339.60",""]
["2","030109012002","","潜水排污泵 Q=23m3/h h=15m N=2.2KW ","1.名称：潜水排污泵\r\n2.型号：满足设计要求\r\n3.参数：Q=23m3/h h=15m N=2.2KW \r\n4.输送介质：污水\r\n5.其他：包括配套水泵浮球阀、水泵配套电源线等附件安装\r\n7.未尽事宜满足设计及规范要求","台","12","1572.07","18864.84","4364.64","472.80",""]
["3","030109012003","","潜水排污泵 Q=15m3/h h=15m N=1.5KW","1.名称：潜水排污泵\r\n2.型号：满足设计要求\r\n3.参数：Q=15m3/h h=15m N=1.5KW\r\n4.输送介质：污水\r\n5.其他：包括配套水泵浮球阀、水泵配套电源线等附件安装\r\n7.未尽事宜满足设计及规范要求","台","34","1432.07","48690.38","12366.48","1339.60",""]
[" "," ","","分部小计 ",""," "," "," ","148375.60","29097.60","3152.00"," "]
[" "," ","","0304 电气设备安装工程 ",""," "," "," "," "," "," "," "]
["4","030413003001","","穿楼板预留孔洞及堵洞 DN150","1.名称：穿楼板预留孔洞及堵洞\r\n2.规格：DN150 \r\n3.填充（恢复）方式：满足施工要求 \r\n4.未尽事宜满足设计及相关规范要求","个","2629","24.36","64042.44","28288.04","473.22",""]
["5","030413003002","","穿楼板预留孔洞及堵洞 DN100","1.名称：穿楼板预留孔洞及堵洞\r\n2.规格：DN150 \r\n3.填充（恢复）方式：满足施工要求 \r\n4.未尽事宜满足设计及相关规范要求","个","588","16.43","9660.84","5350.80","70.56",""]
[" "," ","","分部小计 ",""," "," "," ","73703.28","33638.84","543.78"," "]
[" "," ","","0306 自动化控制仪表安装工程 ",""," "," "," "," "," "," "," "]
["6","030601002001","","压力表 Y-100","1.名称：压力表\r\n2.型号：Y-100\r\n3.附件配置：含压力表弯、取源接头\r\n4.未尽事宜满足设计及相关规范要求","只","14","72.73","1018.22","497.28","9.38",""]
["7","030601002002","","压力表 Y-100","1.名称：压力表\r\n2.型号：Y-100\r\n3.附件配置：含压力表弯、取源接头\r\n4.未尽事宜满足设计及相关规范要求","只","1","69.75","69.75","31.71","0.67",""]
[" "," ","","分部小计 ",""," "," "," ","1087.97","528.99","10.05"," "]
[" "," ","","0308 工业管道工程 ",""," "," "," "," "," "," "," "]
["8","030801017001","","室内钢塑复合管 DN100（泵房）","1.安装部位：泵房\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN100\r\n4.连接形式：卡箍连接\r\n5.管道附件设置：含卡箍、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","42.2","108.32","4571.10","1382.89","78.91",""]
["9","030801017002","","室内钢塑复合管 DN150（泵房）","1.安装部位：泵房\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN150\r\n4.连接形式：卡箍连接\r\n5.管道附件设置：含卡箍、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","7.6","167.09","1269.88","345.95","21.43",""]
["10","030814011001","","钢塑复合管管件 DN100（泵房）","1.材质：钢塑复合管 \r\n2.型号：DN100\r\n3.规格：弯头、三通、直接综合\r\n4.未尽事宜满足设计及相关规范要求","个","12","96.63","1159.56","592.20","308.28",""]
["11","030814011002","","钢塑复合管管件 DN150（泵房）","1.材质：钢塑复合管 \r\n2.型号：DN150\r\n3.规格：弯头、三通、直接综合\r\n4.未尽事宜满足设计及相关规范要求","个","4","140.09","560.36","273.92","155.92",""]
["12","030817008001","","刚性防水套管制作安装 DN150","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN150\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","11","269.68","2966.48","1832.49","345.51",""]
["13","030817008002","","刚性防水套管制作安装 DN100","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN100\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","194","211.92","41112.48","26977.64","5307.84",""]
["14","030817008003","","刚性防水套管制作安装 DN80","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN80\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","14","176.38","2469.32","1667.54","254.52",""]
["15","030817008004","","刚性防水套管制作安装 DN65","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN65\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","23","176.38","4056.74","2739.53","418.14",""]
["16","030817008005","","密闭防护套管 D219","1.名称、类型：密闭防护套管\r\n2.材质：碳钢 \r\n3.规格：D219\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","1","269.69","269.69","166.59","31.41",""]
["17","030817008006","","密闭防护套管 D140","1.名称、类型：密闭防护套管\r\n2.材质：碳钢 \r\n3.规格：D140\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","33","211.92","6993.36","4588.98","902.88",""]
["18","030817008007","","刚性防水套管制作安装 DN75","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN75\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","1","176.38","176.38","119.11","18.18",""]
["19","030817008008","","刚性防水套管制作安装 DN50","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN50\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个","1","151.72","151.72","106.66","14.89",""]
["20","030817008009","","防水套管制作安装 DN100","1.名称：刚性防水套管\r\n2.材质：钢制\r\n3.型号、规格：DN100\r\n4.填料材质：防水油膏以及不燃材料填实\r\n5.具体做法：包含制作与安装及预留洞口、打洞、补洞\r\n6.除锈、刷油及防腐：按设计及施工规范要求\r\n7.未尽事宜满足设计及规范要求","个"," "," ","","","",""]
[" "," ","","分部小计 ",""," "," "," ","65757.07","40793.50","7857.91"," "]
[" "," ","","0310 给排水、采暖、燃气工程 ",""," "," "," "," "," "," "," "]
["21","031001002001","","室内焊接钢管 DN150","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN150\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","234.5","125.66","29467.27","11499.88","2206.65",""]
["22","031001002002","","室内焊接钢管 DN100","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN100\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","405.59","91.03","36920.86","17119.95","3147.38",""]
["23","031001002003","","室内焊接钢管 DN80","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN80\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","68.17","72.27","4926.65","2414.58","358.57",""]
["24","031001002004","","室内焊接钢管 DN65","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN65\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","252.58","61.76","15599.34","8130.55","1171.97",""]
["25","031001002005","","室内热镀锌钢管 DN200","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：热镀锌钢管 DN200\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","3.2","209.01","668.83","192.93","40.80",""]
["26","031001002006","","室内热镀锌钢管 DN150","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：热镀锌钢管 DN150\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","46.32","133.31","6174.92","2271.53","435.87",""]
["27","031001002007","","室内焊接钢管 DN100","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN100\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","555.15","87.49","48570.07","20923.60","4307.96",""]
["28","031001002008","","室内焊接钢管 DN80","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN80\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","20.32","69.30","1408.18","642.52","106.88",""]
["29","031001002009","","室内焊接钢管 DN65","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN65\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","22.4","59.06","1322.94","643.78","103.94",""]
["30","031001002010","","室内热镀锌钢管 DN150","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：热镀锌钢管 DN150\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","4.49","129.19","580.06","196.62","42.25",""]
["31","031001002011","","室内焊接钢管 DN100","1.安装部位：室内 \r\n2.介质：污水 \r\n3.材质、规格：焊接钢管 DN100\r\n4.连接形式：焊接 \r\n5.其他：包含管件、附件制作安装刷油以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["32","031001003001","","室内钢塑复合管 DN150","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN150\r\n4.连接形式：卡箍连接\r\n5.管道附件设置：含卡箍、垫片、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","33.1","160.96","5327.78","1565.96","162.52",""]
["33","031001003002","","室内钢塑复合管 DN100","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN100\r\n4.连接形式：卡箍连接\r\n5.管道附件设置：含卡箍、垫片、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1576.5","112.60","177513.90","59907.00","5391.63",""]
["34","031001003003","","室内钢塑复合管 DN80","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN80\r\n4.连接形式：卡箍连接\r\n5.管道附件设置：含卡箍、垫片、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1587.5","88.60","140652.50","52070.00","2111.38",""]
["35","031001003004","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1024.07","84.46","86492.95","37265.91","1085.51",""]
["36","031001003005","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","275.65","68.97","19011.58","9402.42","267.38",""]
["37","031001003006","","室内PPR冷水管 DN65","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN65\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","0.85","69.80","59.33","20.56","0.84",""]
["38","031001003007","","室内PPR冷水管 DN50","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN50\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3.8","46.14","175.33","86.18","3.69",""]
["39","031001003008","","室内PPR冷水管 DN32","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN32\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","12.2","28.68","349.90","221.43","11.10",""]
["40","031001003009","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","6.8","22.40","152.32","106.76","5.58",""]
["41","031001003010","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","5.8","19.84","115.07","84.80","3.94",""]
["42","031001003011","","室内PPR冷水管 DN15","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3.2","17.70","56.64","42.11","1.60",""]
["43","031001003012","","室内PPR冷水管 DN15（暗配）","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","70.2","17.11","1201.12","998.95","5.62",""]
["44","031001003013","","室内钢塑复合管 DN80","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN80\r\n4.连接形式：卡箍连接\r\n5.管道附件设置：含卡箍、垫片、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","47.85","85.87","4108.88","1401.53","63.64",""]
["45","031001003014","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","5.6","40.57","227.19","143.92","3.02",""]
["46","031001003015","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3985.5","22.18","88398.39","62572.35","3268.11",""]
["47","031001003016","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","32.3","19.80","639.54","471.90","21.96",""]
["48","031001003017","","室内PPR冷水管 DN25（暗配）","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1068.89","20.26","21655.71","17519.11","117.58",""]
["49","031001003018","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","204.5","81.38","16642.21","6642.16","216.77",""]
["50","031001003019","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","44.5","66.18","2945.01","1355.47","43.17",""]
["51","031001003020","","室内钢塑复合管 DN40","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN40\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","166.85","55.00","9176.75","4685.15","135.15",""]
["52","031001003021","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","6.8","40.68","276.62","174.96","3.67",""]
["53","031001003022","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1021.2","22.18","22650.22","16032.84","837.38",""]
["54","031001003023","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1.1","20.89","22.98","16.41","0.76",""]
["55","031001003024","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","78.6","81.35","6394.11","2552.93","83.32",""]
["56","031001003025","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","15.65","65.85","1030.55","475.76","15.18",""]
["57","031001003026","","室内钢塑复合管 DN40","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN40\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","64.8","54.98","3562.70","1819.58","52.49",""]
["58","031001003027","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3.6","39.72","142.99","91.73","1.94",""]
["59","031001003028","","室内PPR冷水管 DN40","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN40\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","48","39.33","1887.84","965.76","45.60",""]
["60","031001003029","","室内PPR冷水管 DN32","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN32\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["61","031001003030","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["62","031001003031","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","2334.81","23.29","54377.72","34858.71","1611.02",""]
["63","031001003032","","室内PPR热水管 DN20","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","830.99","25.13","20882.78","12872.04","74.79",""]
["64","031001003033","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","47.5","72.37","3437.58","1446.38","46.08",""]
["65","031001003034","","室内钢塑复合管 DN40","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN40\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","12.45","64.80","806.76","355.70","10.08",""]
["66","031001003035","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["67","031001003036","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","2644.4","22.17","58626.35","41517.08","2168.41",""]
["68","031001003037","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","2.2","18.70","41.14","31.46","1.50",""]
["69","031001003038","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","151.2","81.35","12300.12","4910.98","160.27",""]
["70","031001003039","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","24.65","65.94","1625.42","749.85","23.91",""]
["71","031001003040","","室内钢塑复合管 DN40","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN40\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","166.6","55.04","9169.66","4679.79","134.95",""]
["72","031001003041","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","6.5","40.04","260.26","166.14","3.51",""]
["73","031001003042","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1102.3","22.18","24449.01","17306.11","903.89",""]
["74","031001003043","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3.6","19.19","69.08","51.95","2.45",""]
["75","031001003044","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","23.32","81.59","1902.68","758.60","24.72",""]
["76","031001003045","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","13.2","66.25","874.50","402.34","12.80",""]
["77","031001003046","","室内钢塑复合管 DN40","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN40\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","48.65","54.94","2672.83","1365.61","39.41",""]
["78","031001003047","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","4.5","39.12","176.04","113.94","2.43",""]
["79","031001003048","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3.2","19.53","62.50","46.50","2.18",""]
["80","031001003049","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","28.52","66.10","1885.17","868.43","27.66",""]
["81","031001003050","","室内钢塑复合管 DN25","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN25\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","9.65","40.07","386.68","246.75","5.21",""]
["82","031001003051","","室内PPR冷水管 DN50","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN50\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["83","031001003052","","室内PPR冷水管 DN40","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN40\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["84","031001003053","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","612.19","24.45","14968.05","9611.38","502.00",""]
["85","031001003054","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["86","031001003055","","室内PPR冷水管 DN15","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["87","031001003056","","室内PPR冷水管 DN15（暗配）","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m"," "," ","","","",""]
["88","031001003057","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","23.65","88.09","2083.33","768.86","25.07",""]
["89","031001003058","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","565.44","24.45","13825.01","8877.41","463.66",""]
["90","031001003059","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","30.61","87.86","2689.39","993.29","32.45",""]
["91","031001003060","","室内PPR冷水管 DN50","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN50\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","28","48.92","1369.76","567.28","26.60",""]
["92","031001003061","","室内PPR冷水管 DN40","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN40\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","5.5","38.69","212.80","110.22","5.23",""]
["93","031001003062","","室内PPR冷水管 DN32","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN32\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","6.16","32.98","203.16","112.24","5.61",""]
["94","031001003063","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","429.77","24.23","10413.33","6725.90","352.41",""]
["95","031001003064","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1.2","22.29","26.75","17.53","0.82",""]
["96","031001003065","","室内PPR冷水管 DN15","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","25","20.45","511.25","330.25","12.50",""]
["97","031001003066","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","12.15","87.22","1059.72","393.42","12.88",""]
["98","031001003067","","室内钢塑复合管 DN50","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","60.1","66.09","3972.01","1829.44","58.30",""]
["99","031001003068","","室内PPR冷水管 DN50","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN50\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","19.4","50.59","981.45","436.50","18.82",""]
["100","031001003069","","室内PPR冷水管 DN40","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN40\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","19.95","39.29","783.84","401.59","18.95",""]
["101","031001003070","","室内PPR冷水管 DN32","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN32\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","8.61","31.57","271.82","135.09","7.06",""]
["102","031001003071","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","932.33","24.35","22702.24","14618.93","764.51",""]
["103","031001003072","","室内PPR冷水管 DN20","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","13.12","20.99","275.39","174.76","6.56",""]
["104","031001003073","","室内PPR冷水管 DN15","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","29.56","20.45","604.50","390.49","14.78",""]
["105","031001003074","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","89.02","88.06","7839.10","2892.26","94.36",""]
["106","031001003075","","室内钢塑复合管 DN80","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN50\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1","107.25","107.25","34.45","1.26",""]
["107","031001003076","","室内PPR冷水管 DN25","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","3.5","26.87","94.05","56.95","2.91",""]
["108","031001003077","","室内PPR冷水管 DN15","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1.2","24.03","28.84","16.94","0.60",""]
["109","031001003078","","室内PPR冷水管 DN65","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN65\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","6.18","76.43","472.34","148.32","6.06",""]
["110","031001003079","","室内PPR冷水管 DN50","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN50\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","4.46","54.69","243.92","103.47","4.33",""]
["111","031001003080","","室内PPR冷水管 DN32","1.安装部位：室内（墙上或吊顶内明配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN32\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件、管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","21.82","35.40","772.43","408.69","20.07",""]
["112","031001003081","","室内PPR冷水管 DN15（暗配）","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN15\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","20.22","18.94","382.97","287.73","1.62",""]
["113","031001003082","","室内PPR冷水管 DN20（暗配）","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN20\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","0.52","20.50","10.66","8.13","0.06",""]
["114","031001003083","","室内PPR冷水管 DN25（暗配）","1.安装部位：室内（墙上或地面暗配）\r\n2.介质：冷水\r\n3.材质、规格：PPR给水管 DN25\r\n4.连接形式：热熔连接\r\n5.管道附件设置：管件等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","15.82","22.32","353.10","259.29","1.74",""]
["115","031001003084","","室内钢塑复合管 DN65","1.安装部位：室内\r\n2.介质：冷水\r\n3.材质、规格：钢塑复合管 DN65\r\n4.连接形式：螺纹连接\r\n5.管道附件设置：含管卡等全套\r\n6.压力试验及吹、洗： 按设计及规范要求\r\n7.未尽事宜满足设计及相关规范要求","m","1.85","96.71","178.91","62.90","1.98",""]
["116","031001006001","","室内UPVC塑料排水管 DN150","1.安装部位：室内\r\n2.介质：污水 \r\n3.材质、规格：UPVC塑料排水管 DN150\r\n4.连接形式：承插粘接 \r\n5.管道附件设置：管件、管卡等全套\r\n6.通球、灌水试验：按设计要求 \r\n7.未尽事宜满足设计及相关规范要求","m","83.85","59.90","5022.62","3063.88","61.21",""]
["117","031001006002","","室内UPVC塑料排水管 DN50","1.安装部位：室内\r\n2.介质：污水 \r\n3.材质、规格：UPVC塑料排水管 DN50\r\n4.连接形式：承插粘接 \r\n5.管道附件设置：管件、管卡等全套\r\n6.通球、灌水试验：按设计要求 \r\n7.未尽事宜满足设计及相关规范要求","m","5.6","31.61","177.02","90.94","0.06",""]
["118","031001006003","","室内UPVC塑料排水管 DN50","1.安装部位：室内\r\n2.介质：污水 \r\n3.材质、规格：UPVC塑料排水管 DN50\r\n4.连接形式：承插粘接 \r\n5.管道附件设置：管件、管卡等全套\r\n6.通球、灌水试验：按设计要求 \r\n7.未尽事宜满足设计及相关规范要求","m","15.85","29.46","466.94","253.12","0.16",""]
["119","031001006004","","室内UPVC塑料排水管 DN100","1.安装部位：室内\r\n2.介质：污水 \r\n3.材质、规格：UPVC塑料排水管 DN100\r\n4.连接形式：承插粘接\r\n5.管道附件设置：管件、管卡等全套\r\n6.通球、灌水试验：按设计要求 \r\n7.未尽事宜满足设计及相关规范要求","m","60.88","64.16","3906.06","1408.15","1.22",""]
["120","031001006005","","室内UPVC塑料排水管 DN100（加厚型）","1.安装部位：室内\r\n2.介质：污水 \r\n3.材质、规格：UPVC塑料排水管 DN100（加厚型）\r\n4.连接形式：承插粘接\r\n5.管道附件设置：管件、管卡等全套\r\n6.通球、灌水试验：按设计要求 \r\n7.未尽事宜满足设计及相关规范要求","m","20.9","65.61","1371.25","483.42","0.42",""]
["121","031001006006","","室内UPVC塑料雨水管 DN100","1.安装部位：室内\r\n2.介质：雨水 \r\n3.材质、规格：UPVC塑料雨水管 DN100\r\n4.连接形式：承插粘接连接 \r\n5.管道附件设置：管件、管卡等全套\r\n6.通球、灌水试验：按设计要求 \r\n7.未尽事宜满足设计及相关规范要求","m","7.8","50.23","391.79","167.23","0.16",""]
["122","031002001001","","泵房支架制作安装","1.材质：型钢\r\n2.管架形式：吊顶或吸梁安装\r\n3.包含手工除锈、刷两道调和漆、两道防锈漆以及螺丝、螺帽等配件\r\n4.未尽事宜满足设计及规范要求","Kg","133.2","12.22","1627.70","891.11","141.19",""]
["123","031002001002","","管道支架制作安装","1.材质：型钢\r\n2.管架形式：吊顶或吸梁安装\r\n3.包含手工除锈、刷两道调和漆、两道防锈漆以及螺丝、螺帽等配件\r\n4.未尽事宜满足设计及规范要求","Kg","380","16.98","6452.40","3606.20","1136.20",""]
["124","031002001003","","管道支架制作安装","1.材质：型钢\r\n2.管架形式：吊顶或吸梁安装\r\n3.包含手工除锈、刷两道调和漆、两道防锈漆以及螺丝、螺帽等配件\r\n4.未尽事宜满足设计及规范要求","Kg","96.6","15.37","1484.74","815.30","275.31",""]
["125","031002003001","","钢套管制作安装 DN200","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN200\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","12","144.59","1735.08","1074.12","22.08",""]
["126","031002003002","","钢套管制作安装 DN150","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN150 \r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","2","110.66","221.32","147.24","3.18",""]
["127","031002003003","","钢套管制作安装 DN100","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN100 \r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","3","66.89","200.67","130.44","3.27",""]
["128","031002003004","","钢套管制作安装 DN80","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN80\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","1","52.19","52.19","31.85","0.92",""]
["129","031002003005","","钢套管制作安装 DN150","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN150 \r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","646","104.47","67487.62","42461.58","1027.14",""]
["130","031002003006","","钢套管制作安装 DN100","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN100 \r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","120","63.24","7588.80","4658.40","130.80",""]
["131","031002003007","","钢套管制作安装 DN80","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN80\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","48","49.51","2376.48","1365.12","44.16",""]
["132","031002003008","","钢套管制作安装 DN65","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN65\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","9","35.57","320.13","193.59","6.75",""]
["133","031002003009","","钢套管制作安装 DN50","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN50\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","4670","26.30","122821.00","74533.20","3502.50",""]
["134","031002003010","","钢套管制作安装 DN20","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN50\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","923","15.61","14408.03","9082.32","618.41",""]
["135","031002003011","","钢套管制作安装 DN25","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN50\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个"," "," ","","","",""]
["136","031002003012","","穿墙塑料套管 φ80","1.类型：穿墙塑料套管\r\n2.材质：塑料管道\r\n3.规格：φ80 \r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个","1686","25.37","42773.82","24581.88","",""]
["137","031002003013","","钢套管制作安装 DN50","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN50\r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个"," "," ","","","",""]
["138","031002003014","","钢套管制作安装 DN100","1.类型：钢套管制作安装（穿墙、穿梁、穿楼板综合）\r\n2.材质：焊接钢管\r\n3.规格：DN100 \r\n4.填料材质：套管与管道间的缝隙,应采用非燃性材料填实\r\n5.未尽事宜满足设计及规范要求","个"," "," ","","","",""]
["139","031003002001","","自动排气阀 DN25","1.类型：自动排气阀 \r\n2.材质：钢制 \r\n3.规格：DN25\r\n4.连接形式：丝扣连接 \r\n5.其他：包含配件安装以及压力试验及吹、洗按设计要求\r\n6.未尽事宜满足设计及规范要求","个","23","54.12","1244.76","398.82","2.53",""]
["140","031003002002","","自动排气阀 DN15","1.类型：自动排气阀 \r\n2.材质：钢制 \r\n3.规格：DN25\r\n4.连接形式：丝扣连接 \r\n5.其他：包含配件安装以及压力试验及吹、洗按设计要求\r\n6.未尽事宜满足设计及规范要求","个","3","43.65","130.95","41.58","0.21",""]
["141","031003003001","","闸阀（铜质阀芯） DN150","1.名称：闸阀\r\n2.材质：铜芯\r\n3.型号：DN150\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","4","472.83","1891.32","449.44","47.40",""]
["142","031003003002","","闸阀（铜质阀芯） DN100","1.名称：闸阀\r\n2.材质：铜芯\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","16","320.97","5135.52","1241.92","47.52",""]
["143","031003003003","","Y型过滤器 DN150","1.名称：Y型过滤器\r\n2.材质：钢制 \r\n3.型号：DN150\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","630.32","1260.64","224.72","23.70",""]
["144","031003003004","","Y型过滤器 DN100","1.名称：Y型过滤器\r\n2.材质：钢制 \r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","7","471.47","3300.29","543.34","20.79",""]
["145","031003003005","","倒流防止器 DN150","1.名称：倒流防止器\r\n2.材质：钢制 \r\n3.型号：DN150\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","763.32","1526.64","224.72","23.70",""]
["146","031003003006","","可曲绕橡胶软接头 DN100","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","36","178.55","6427.80","2375.64","",""]
["147","031003003007","","法兰水表 DN150 ","1.名称：水表组\r\n2.材质：钢制 \r\n3.型号：DN150\r\n4.连接形式：法兰连接 \r\n5.附件配置：含水表DN100、螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","532.32","532.32","112.36","11.85",""]
["148","031003003008","","闸阀（铜质阀芯） DN80","1.名称：闸阀\r\n2.材质：铜芯\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","18","234.82","4226.76","1024.56","44.28",""]
["149","031003003009","","闸阀（铜质阀芯） DN65","1.名称：闸阀\r\n2.材质：铜芯 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","9","172.31","1550.79","372.60","19.08",""]
["150","031003003010","","闸阀（铜质阀芯） DN50","1.名称：闸阀\r\n2.材质：铜芯 \r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","7","161.11","1127.77","244.58","18.13",""]
["151","031003003011","","闸阀（球磨铸铁） DN100","1.名称：闸阀\r\n2.材质：铸铁\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","34","306.97","10436.98","2639.08","100.98",""]
["152","031003003012","","闸阀（球磨铸铁） DN80","1.名称：闸阀\r\n2.材质：铸铁\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","220.82","2649.84","683.04","29.52",""]
["153","031003003013","","闸阀（球磨铸铁） DN65","1.名称：闸阀\r\n2.材质：铸铁\r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","34","158.31","5382.54","1407.60","72.08",""]
["154","031003003014","","信号防护闸阀 DN100","1.名称：信号防护闸阀\r\n2.材质：钢制\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","21","306.97","6446.37","1630.02","62.37",""]
["155","031003003015","","信号防护闸阀 DN80","1.名称：信号防护闸阀\r\n2.材质：钢制\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","37","220.82","8170.34","2106.04","91.02",""]
["156","031003003016","","信号防护闸阀 DN65","1.名称：信号防护闸阀\r\n2.材质：钢制\r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","158.31","1899.72","496.80","25.44",""]
["157","031003003017","","止回阀（防水锤消声） DN100","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","34","212.19","7214.46","2639.08","100.98",""]
["158","031003003018","","止回阀（防水锤消声） DN80","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","157.68","1892.16","683.04","29.52",""]
["159","031003003019","","止回阀（防水锤消声） DN65","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","34","123.73","4206.82","1407.60","72.08",""]
["160","031003003020","","可曲绕橡胶软接头 DN80","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","160.54","1926.48","589.92","",""]
["161","031003003021","","可曲绕橡胶软接头 DN65","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","34","77.55","2636.70","1539.86","",""]
["162","031003003022","","液压水位控制阀 DN100","1.类型：液压水位控制阀\r\n2.材质：碳钢\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","6","323.11","1938.66","411.48","",""]
["163","031003003023","","闸阀（铜质阀芯） DN65","1.名称：闸阀\r\n2.材质：铜芯 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","21","168.83","3545.43","776.16","44.52",""]
["164","031003003024","","闸阀（球磨铸铁） DN100","1.名称：闸阀\r\n2.材质：铸铁\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","300.45","3605.40","831.60","35.64",""]
["165","031003003025","","闸阀（球磨铸铁） DN80","1.名称：闸阀\r\n2.材质：铸铁\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","8","216.04","1728.32","406.56","19.68",""]
["166","031003003026","","闸阀（球磨铸铁） DN65","1.名称：闸阀\r\n2.材质：铸铁\r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","4","154.84","619.36","147.84","8.48",""]
["167","031003003027","","波纹伸缩器 DN100","1.名称：波纹伸缩器\r\n2.材质：钢制\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","285.80","3429.60","831.60","35.64",""]
["168","031003003028","","波纹伸缩器 DN80","1.名称：波纹伸缩器\r\n2.材质：钢制\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","245.19","490.38","101.64","4.92",""]
["169","031003003029","","止回阀（防水锤消声） DN100","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","205.67","2468.04","831.60","35.64",""]
["170","031003003030","","止回阀（防水锤消声） DN80","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","8","152.90","1223.20","406.56","19.68",""]
["171","031003003031","","止回阀（防水锤消声） DN65","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","6","120.26","721.56","221.76","12.72",""]
["172","031003003032","","可曲绕橡胶软接头 DN100","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","12","173.02","2076.24","707.04","",""]
["173","031003003033","","可曲绕橡胶软接头 DN80","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","8","156.42","1251.36","351.12","",""]
["174","031003003034","","可曲绕橡胶软接头 DN65","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","4","73.76","295.04","161.76","",""]
["175","031003003035","","水表 DN65","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN65\r\n4.连接形式：法兰连接（未含法兰盘安装）\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","201.04","402.08","73.92","4.24",""]
["176","031003003036","","闸阀（铜质阀芯） DN50","1.名称：闸阀\r\n2.材质：铜芯 \r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","7","158.18","1107.26","218.40","18.13",""]
["177","031003003037","","止回阀（防水锤消声） DN50","1.名称：止回阀（防水锤消声）\r\n2.材质：钢制\r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","103.74","207.48","62.40","5.18",""]
["178","031003003038","","止回阀（防水锤消声） DN25","1.名称：止回阀（防水锤消声）\r\n2.材质：钢制\r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","585","45.88","26839.80","7441.20","719.55",""]
["179","031003003039","","止回阀（防水锤消声） DN20","1.名称：止回阀（防水锤消声）\r\n2.材质：钢制\r\n3.型号：DN20\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","33.07","66.14","23.10","1.92",""]
["180","031003003040","","液压控制阀 DN50","1.名称：液压控制阀\r\n2.材质：钢制\r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","125.20","125.20","27.72","0.94",""]
["181","031003003041","","Y型过滤器 DN50","1.名称：Y型过滤器\r\n2.材质：钢制\r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","309.68","309.68","31.20","2.59",""]
["182","031003003042","","可曲绕橡胶软接头 DN50","1.名称：可曲绕橡胶软接头\r\n2.材质：橡胶\r\n3.型号：DN50\r\n4.连接形式：螺纹连接\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","48.17","48.17","25.41","",""]
["183","031003003043","","水表 DN50","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN50\r\n4.连接形式：螺纹连接\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","126.41","126.41","46.20","0.73",""]
["184","031003003044","","水表 DN25","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","585","54.84","32081.40","14180.40","216.45",""]
["185","031003003045","","水表 DN20","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN20\r\n4.连接形式：螺纹连接\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","2","45.89","91.78","41.58","0.36",""]
["186","031003003046","","截止阀 DN65","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","126.83","126.83","36.96","2.12",""]
["187","031003003047","","截止阀 DN50","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","4","103.03","412.12","124.80","10.36",""]
["188","031003003048","","截止阀 DN40","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN40\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","171","80.72","13803.12","4345.11","321.48",""]
["189","031003003049","","截止阀 DN25","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","591","43.47","25690.77","7517.52","726.93",""]
["190","031003003050","","截止阀 DN20","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN20\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","4","38.72","154.88","46.20","3.84",""]
["191","031003003051","","减压阀组 DN65","1.名称：减压阀组\r\n2.材质：钢制\r\n3.型号：DN65\r\n4.连接形式：法兰连接 （含法兰盘安装）\r\n5.附件配置：含垫片及所有附配件配套阀门制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","1090.46","1090.46","513.99","57.81",""]
["192","031003003052","","减压阀组 DN40","1.名称：减压阀组\r\n2.材质：钢制\r\n3.型号：DN40\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件配套阀门制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","98","824.89","80839.22","37352.70","815.36",""]
["193","031003003053","","真空破坏器 DN20","1.名称：真空破坏器\r\n2.材质：钢制 \r\n3.型号：DN20\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","5","38.72","193.60","57.75","4.80",""]
["194","031003003054","","水龙头 DN20","1.名称：水龙头\r\n2.材质：钢制 \r\n3.型号：DN20\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","3","21.38","64.14","9.36","",""]
["195","031003003055","","截止阀 DN32","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN32\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["196","031003003056","","截止阀 DN25","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["197","031003003057","","橡胶柔性接头 DN20","1.名称：橡胶柔性接头\r\n2.材质：橡胶 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","86","37.29","3206.94","993.30","82.56",""]
["198","031003003058","","减压阀组 DN40","1.名称：减压阀组\r\n2.材质：钢制\r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件配套阀门制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","13","1325.86","17236.18","4188.99","93.08",""]
["199","031003003059","","截止阀 DN15","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["200","031003003060","","截止阀 DN20","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","86","65.06","5595.16","993.30","82.56",""]
["201","031003003061","","截止阀 DN32","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["202","031003003062","","水表 DN20","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN25\r\n4.连接形式：螺纹连接\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","86","54.84","4716.24","2084.64","31.82",""]
["203","031003003063","","止回阀 DN20","1.名称：止回阀（防水锤消声）\r\n2.材质：钢制\r\n3.型号：DN25\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","86","43.25","3719.50","993.30","82.56",""]
["204","031003003064","","闸阀（铜质阀芯） DN50","1.名称：闸阀\r\n2.材质：铜芯 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","3","139.40","418.20","86.67","5.16",""]
["205","031003003065","","可调式减压阀 DN65","1.名称：可调式减压阀 \r\n2.材质：铜芯 \r\n3.型号：DN65\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","4","352.06","1408.24","157.08","13.08",""]
["206","031003003066","","水表 DN65","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN65\r\n4.连接形式：法兰连接（未含法兰盘安装）\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["207","031003003067","","水表 DN50","1.名称：水表\r\n2.材质：钢制 \r\n3.型号：DN50\r\n4.连接形式：螺纹连接\r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["208","031003003068","","止回阀（防水锤消声） DN50","1.名称：止回阀（防水锤消声）\r\n2.材质：钢制\r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["209","031003003069","","可调式减压阀 DN50","1.名称：可调式减压阀 \r\n2.材质：铜芯 \r\n3.型号：DN50\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","260.69","260.69","31.20","2.59",""]
["210","031003003070","","可调式减压阀 DN32","1.名称：可调式减压阀 \r\n2.材质：铜芯 \r\n3.型号：DN32\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","99.25","99.25","16.17","1.59",""]
["211","031003003071","","截止阀 DN65","1.名称：截止阀\r\n2.材质：铜芯 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["212","031003003072","","止回阀（防水锤消声） DN65","1.名称：止回阀\r\n2.材质：钢制 \r\n3.型号：DN65\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个"," "," ","","","",""]
["213","031003003073","","可调式减压阀 DN80","1.名称：可调式减压阀 \r\n2.材质：铜芯 \r\n3.型号：DN80\r\n4.连接形式：螺纹连接 \r\n5.附件配置：含垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","414.64","414.64","57.75","3.93",""]
["214","031003003074","","闸阀（铜质阀芯） DN80","1.名称：闸阀\r\n2.材质：铜芯\r\n3.型号：DN80\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","个","1","230.04","230.04","50.82","2.46",""]
["215","031003011001","","碳钢平焊法兰 DN150","1.名称：碳钢平焊法兰\r\n2.型号：DN150\r\n3.连接方式：焊接\r\n4.附件配置：每副包含2片碳钢法兰片\r\n5.未尽事宜满足设计及相关规范要求","副","9","183.47","1651.23","880.56","218.34",""]
["216","031003011002","","碳钢平焊法兰 DN100","1.名称：碳钢平焊法兰\r\n2.型号：DN100\r\n3.连接方式：焊接\r\n4.附件配置：每副包含2片碳钢法兰片\r\n5.未尽事宜满足设计及相关规范要求","副","14","117.89","1650.46","905.52","172.06",""]
["217","031003011003","","碳钢平焊法兰 DN65","1.名称：碳钢平焊法兰\r\n2.型号：DN65\r\n3.连接方式：焊接\r\n4.附件配置：每副包含2片碳钢法兰片\r\n5.未尽事宜满足设计及相关规范要求","副","11","69.90","768.90","482.79","90.75",""]
["218","031003011004","","碳钢平焊法兰 DN100","1.名称：碳钢平焊法兰\r\n2.型号：DN65\r\n3.连接方式：焊接\r\n4.附件配置：每副包含2片碳钢法兰片\r\n5.未尽事宜满足设计及相关规范要求","副","2","112.46","224.92","115.50","24.58",""]
["219","031003012001","","倒流防止器 DN150","1.名称：倒流防止器\r\n2.材质：钢制\r\n3.型号：DN150\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","套","2","753.90","1507.80","200.64","23.70",""]
["220","031003012002","","倒流防止器 DN100","1.名称：倒流防止器\r\n2.材质：钢制\r\n3.型号：DN100\r\n4.连接形式：法兰连接 （未含法兰盘安装）\r\n5.附件配置：含螺栓、垫片及所有附配件制作安装及压力试验调试\r\n6.未尽事宜满足设计及相关规范要求","套","2","513.96","1027.92","138.60","5.94",""]
["221","031003013001","","水表组 DN150","1.安装部位（室内外）：室外 \r\n2.型号、规格：法兰水表 DN150\r\n3.连接形式：法兰连接\r\n4.其他：包含闸阀（铜质阀芯） DN150 2个、Y型过滤器 DN150 1个、可曲绕橡胶软接头 DN150 1个、水表 DN150 1个、法兰盘等其他配件安装\r\n5.未尽事宜满足设计及相关规范要求","组","2","2333.05","4666.10","939.48","112.92",""]
["222","031003013002","","水表组 DN100","1.安装部位（室内外）：室外 \r\n2.型号、规格：法兰水表 DN100\r\n3.连接形式：法兰连接\r\n4.其他：包含闸阀（铜质阀芯） DN100 2个、Y型过滤器 DN100 1个、可曲绕橡胶软接头 DN100 1个、水表 DN100 1个、法兰盘等其他配件安装\r\n5.未尽事宜满足设计及相关规范要求","组","2","1632.66","3265.32","702.24","29.50",""]
["223","031004014001","","地漏 DN150","1.材质：塑料\r\n2.型号、规格：DN150\r\n3.未尽事宜满足设计及规范要求","个","6","87.56","525.36","419.10","",""]
["224","031004014002","","阻火圈 DN100","1.材质：阻火圈 \r\n2.型号、规格：DN100 \r\n3.安装位置：排水立管穿楼板处\r\n4.未尽事宜满足设计及相关规范要求","个","1869","26.79","50070.51","21586.95","149.52",""]
["225","031004014003","","漏斗 DN75","1.材质：塑料\r\n2.型号、规格：DN75\r\n3.未尽事宜满足设计及规范要求","个"," "," ","","","",""]
["226","031006001001","","无负压高区给水设备 AAB36/1.20-3-22","1.名称：无负压高区给水设备\r\n2.规格：AAB36/1.20-3-22\r\n3.主要技术参数：Q =36m3 /h H =120m N=11Kw/套 两用一备 变频控制柜 HLC-3-11.0一套\r\n4.其他：包含配套阀门、管件和连接管路等试验、调试安装\r\n5.未尽事宜满足设计及规范要求","套","1","68317.20","68317.20","1967.95","194.98",""]
["227","031006001002","","无负压高区给水设备 AAB36/1.20-3-20","1.名称：无负压高区给水设备\r\n2.规格：AAB36/1.20-3-20\r\n3.主要技术参数：Q =60m3 /h  H =120m  N=15Kw/套 两用一备 变频控制柜 HLC-3-15.0一套\r\n4.其他：包含配套阀门、管件和连接管路等试验、调试安装\r\n5.未尽事宜满足设计及规范要求","套","1","68317.20","68317.20","1967.95","194.98",""]
["228","031006001003","","无负压中区给水设备 AAB60/0.75-3-22 ","1.名称：无负压中区给水设备\r\n2.规格：AAB60/0.75-3-22 \r\n3.主要技术参数：Q =58 m3 /h  H =75m  N=11Kw/套  两用一备 变频控制柜 HLC-3-11.0一套\r\n4.其他：包含配套阀门、管件和连接管路等试验、调试安装\r\n5.未尽事宜满足设计及规范要求","套","2","65986.20","131972.40","3935.90","389.96",""]
["229","031006011001","","紫外线消毒器 ZXB-WD-500","1.名称：紫外线消毒器\r\n2.规格：ZXB-WD-500\r\n3.未尽事宜满足设计及规范要求","台","4","907.17","3628.68","289.76","",""]
[" "," ","","分部小计 ",""," "," "," ","1982128.72","830915.90","46557.92"," "]
[" "," ","","0405 管网工程 ",""," "," "," "," "," "," "," "]
["230","040501001001","","C20混凝土包管","1.混凝土强度等级：C20商品砼\r\n2.管径规格：满足设计要求\r\n3.未尽事宜满足设计及规范要求","m3","13.52","371.63","5024.44","725.89","5.81",""]
["231","040501004001","","室外PE塑料复合給水管 DN200","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN200\r\n4.连接形式：电热熔连接 \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","21.2","132.20","2802.64","360.61","84.38",""]
["232","040501004002","","室外PE塑料复合給水管 DN150","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN150\r\n4.连接形式：电热熔连接 \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","154.6","103.54","16007.28","2133.48","474.62",""]
["233","040501004003","","室外PE塑料复合給水管 DN100","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN100\r\n4.连接形式：电热熔连接 \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","409.2","61.30","25083.96","4419.36","171.86",""]
["234","040501004004","","室外PE塑料复合給水管 DN80","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN80\r\n4.连接形式：电热熔连接 \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","138.85","48.58","6745.33","1346.85","56.93",""]
["235","040501004005","","室外PE塑料复合給水管 DN65","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN65\r\n4.连接形式：电热熔连接  \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","22.1","33.79","746.76","199.56","8.40",""]
["236","040501004006","","室外PE塑料复合給水管 DN50","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN50\r\n4.连接形式：电热熔连接  \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","135.23","26.59","3595.77","1184.61","45.98",""]
["237","040501004007","","室外PE塑料复合給水管 DN40","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN40\r\n4.连接形式：电热熔连接  \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","62","15.70","973.40","494.14","19.22",""]
["238","040501004008","","室外PE塑料复合給水管 DN32","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN32\r\n4.连接形式：电热熔连接  \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","67.5","17.57","1185.98","495.45","18.90",""]
["239","040501004009","","室外PE塑料复合給水管 DN25","1.安装部位：室外 \r\n2.介质：自来水 \r\n3.材质、规格：PE塑料复合管 DN25\r\n4.连接形式：电热熔连接  \r\n5.其他：包含管件、附件安装以及压力试验及吹、洗设计要求\r\n6.未尽事宜满足设计及相关规范要求","m","362.5","14.87","5390.38","2403.38","76.13",""]
["240","040502005001","","快速取水阀 DN25","1.种类 ：快速取水阀 \r\n2.材质及规格 ：DN25\r\n3.连接形式 ：丝扣连接\r\n4.未尽事宜满足设计及相关规范要求","个","5","45.31","226.55","63.60","6.15",""]
["241","040504001001","","水表井","1.垫层、基础材质及厚度 (C15) 商品混凝土 100厚\r\n2.砌筑材料品种、规格、强度等级 砖砌体\r\n3.勾缝、抹面要求 按设计要求\r\n4.砂浆强度等级、配合比 M7.5\r\n5.混凝土强度等级 C15\r\n6.盖板材质、规格 预制盖板\r\n7.井盖、井圈材质及规格 D=800mm\r\n8.未尽事宜详设计，其他满足设计及规范要求","座","2","1446.17","2892.34","602.50","1.80",""]
[" "," ","","分部小计 ",""," "," "," ","70674.83","14429.43","970.18"," "]
[" "," ","","0101 土石方工程 ",""," "," "," "," "," "," "," "]
["242","010101003001","","挖沟槽土石方","1.土石类别：投标人自行综合考虑\r\n2.挖方深度：详设计施工图\r\n3.开挖方式：投标人自行综合考虑\r\n4.场内运距：投标人自行综合考虑\r\n5.未尽事宜满足设计及规范要求","m3","866.6","12.06","10451.20","7955.39","3553.06",""]
["243","010101007001","","挖填水管管沟土方","1.土壤类别：综合考虑\r\n2.开挖及回填方式：人工开挖及回填\r\n3.管外径：综合考虑\r\n4.挖沟深度：综合考虑\r\n5.回填要求：夯填\r\n6.包含管沟土方的开挖及管道安装完毕后的回填\r\n7.未尽事宜满足设计及规范要求","m3","75.7","37.40","2831.18","3043.90","137.02",""]
["244","010103001001","","回填方","1.密实度要求：符合设计及规范要求\r\n2.填方材料品种：符合设计及规范要求\r\n3.填方粒径要求：符合设计及规范要求\r\n4.填方来源、运距：投标人自行综合考虑\r\n5.未尽事宜满足设计及规范要求","m3","779.45","5.74","4474.04","1293.89","3445.17",""]
["245","010103002001","","余方弃置","1.废弃料品种：综合\r\n2.运距:外运运距及弃土场费用由投标人自行考虑","m3","88.35","4.94","436.45","147.54","321.59",""]
[" "," ","","分部小计 ",""," "," "," ","18192.87","12440.72","7456.84"," "]
["合    计","","","","","","","","2359920.34","961844.98","66548.68",""]